{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":1,"images":12,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":91,"n_cols":8,"rows_kept":91,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,null,null,null,null,null,"33xxFシリーズ　Comポート番号：","COM4"]
[]
[]
[]
[]
[null,null,null,null,"設定電流値",1,"[A]"]
[]
[]
[]
[null,null,null,null,"設定電力値",0,"[W]"]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,"測定電圧値",20.748999999999999,"[V]"]
[]
[]
[]
[null,null,null,"測定電流値",0.99980000000000002,"[A]"]
[]
[]
[]
[null,null,null,"測定電力値",20.744,"[W]"]
[]
[]
[null,null,null,null,"RUN"]
[]
[]
[]
[]
[]
[null,"試験FILE",1]
[null,"全STEP数",8,"←全ステップ数は設定したステップ数以下をいれてください．"]
[null,"繰り返し回数",0]
[]
[null,"STEP","STATE","TIME[sec]","VALUE[A]"]
[null,1,1,0.5,0]
[null,2,2,0.1,1]
[null,3,3,0.3,0.3]
[null,4,4,0.4,1]
[null,5,5,0.2,0.5]
[null,6,6,0.3,1]
[null,7,7,0.5,0.7]
[null,8,8,1,1]
[null,9,9]
[null,10,10]
[null,11,11]
[null,12,12]
[null,13,13]
[null,14,14]
[null,15,15]
[null,16,16]
[]
[null,"↓グラフ描写用"]
[null,0,{"$f":"E42","v":0}]
[null,{"$f":"B60+D42","v":0.5},{"$f":"C60","v":0}]
[null,{"$f":"B61","v":0.5},{"$f":"E43","v":1}]
[null,{"$f":"B62+D43","v":0.6},{"$f":"C62","v":1}]
[null,{"$f":"B63","v":0.6},{"$f":"E44","v":0.3}]
[null,{"$f":"B64+D44","v":0.89999999999999991},{"$f":"C64","v":0.3}]
[null,{"$f":"B65","v":0.89999999999999991},{"$f":"E45","v":1}]
[null,{"$f":"B66+D45","v":1.2999999999999998},{"$f":"C66","v":1}]
[null,{"$f":"B67","v":1.2999999999999998},{"$f":"E46","v":0.5}]
[null,{"$f":"B68+D46","v":1.4999999999999998},{"$f":"C68","v":0.5}]
[null,{"$f":"B69","v":1.4999999999999998},{"$f":"E47","v":1}]
[null,{"$f":"B70+D47","v":1.7999999999999998},{"$f":"C70","v":1}]
[null,{"$f":"B71","v":1.7999999999999998},{"$f":"E48","v":0.7}]
[null,{"$f":"B72+D48","v":2.2999999999999998},{"$f":"C72","v":0.7}]
[null,{"$f":"B73","v":2.2999999999999998},{"$f":"E49","v":1}]
[null,{"$f":"B74+D49","v":3.3},{"$f":"C74","v":1}]
[null,{"$f":"B75","v":3.3},{"$f":"E50","v":0}]
[null,{"$f":"B76+D50","v":3.3},0]
[null,{"$f":"B77","v":3.3},{"$f":"E51","v":0}]
[null,{"$f":"B78+D51","v":3.3},0]
[null,{"$f":"B79","v":3.3},{"$f":"E52","v":0}]
[null,{"$f":"B80+D52","v":3.3},0]
[null,{"$f":"B81","v":3.3},{"$f":"E53","v":0}]
[null,{"$f":"B82+D53","v":3.3},0]
[null,{"$f":"B83","v":3.3},{"$f":"E54","v":0}]
[null,{"$f":"B84+D54","v":3.3},0]
[null,{"$f":"B85","v":3.3},{"$f":"E55","v":0}]
[null,{"$f":"B86+D55","v":3.3},0]
[null,{"$f":"B87","v":3.3},{"$f":"E56","v":0}]
[null,{"$f":"B88+D56","v":3.3},0]
[null,{"$f":"B89","v":3.3},{"$f":"E57","v":0}]
[null,{"$f":"B90+D57","v":3.3},{"$f":"C90","v":0}]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}