{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":1,"images":12,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":91,"n_cols":8,"rows_kept":91,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,null,null,null,null,null,"34000シリーズ　Comポート番号：","COM2"]
[]
[]
[]
[]
[null,null,null,null,"設定電流値",1,"[A]"]
[]
[]
[]
[null,null,null,null,"設定電力値",0,"[W]"]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,"測定電圧値",0,"[V]"]
[]
[]
[]
[null,null,null,"測定電流値",0,"[A]"]
[]
[]
[]
[null,null,null,"測定電力値",0,"[W]"]
[]
[]
[null,null,null,null,"RUN"]
[]
[]
[]
[]
[]
[null,"試験FILE",3]
[null,"全STEP数",4,"←全ステップ数は設定したステップ数以下をいれてください．"]
[null,"繰り返し回数",1]
[]
[null,"STEP","STATE","TIME[msec]","VALUE[A]"]
[null,1,1,500,20]
[null,2,2,1000,10]
[null,3,3,700,25]
[null,4,4,300,0]
[null,5,5]
[null,6,6]
[null,7,7]
[null,8,8]
[null,9,9]
[null,10,10]
[null,11,11]
[null,12,12]
[null,13,13]
[null,14,14]
[null,15,15]
[null,16,16]
[]
[null,"↓グラフ描写用"]
[null,0,{"$f":"E42","v":20}]
[null,{"$f":"B60+D42","v":500},{"$f":"C60","v":20}]
[null,{"$f":"B61","v":500},{"$f":"E43","v":10}]
[null,{"$f":"B62+D43","v":1500},{"$f":"C62","v":10}]
[null,{"$f":"B63","v":1500},{"$f":"E44","v":25}]
[null,{"$f":"B64+D44","v":2200},{"$f":"C64","v":25}]
[null,{"$f":"B65","v":2200},{"$f":"E45","v":0}]
[null,{"$f":"B66+D45","v":2500},{"$f":"C66","v":0}]
[null,{"$f":"B67","v":2500},{"$f":"E46","v":0}]
[null,{"$f":"B68+D46","v":2500},{"$f":"C68","v":0}]
[null,{"$f":"B69","v":2500},{"$f":"E47","v":0}]
[null,{"$f":"B70+D47","v":2500},{"$f":"C70","v":0}]
[null,{"$f":"B71","v":2500},{"$f":"E48","v":0}]
[null,{"$f":"B72+D48","v":2500},{"$f":"C72","v":0}]
[null,{"$f":"B73","v":2500},{"$f":"E49","v":0}]
[null,{"$f":"B74+D49","v":2500},{"$f":"C74","v":0}]
[null,{"$f":"B75","v":2500},{"$f":"E50","v":0}]
[null,{"$f":"B76+D50","v":2500},0]
[null,{"$f":"B77","v":2500},{"$f":"E51","v":0}]
[null,{"$f":"B78+D51","v":2500},0]
[null,{"$f":"B79","v":2500},{"$f":"E52","v":0}]
[null,{"$f":"B80+D52","v":2500},0]
[null,{"$f":"B81","v":2500},{"$f":"E53","v":0}]
[null,{"$f":"B82+D53","v":2500},0]
[null,{"$f":"B83","v":2500},{"$f":"E54","v":0}]
[null,{"$f":"B84+D54","v":2500},0]
[null,{"$f":"B85","v":2500},{"$f":"E55","v":0}]
[null,{"$f":"B86+D55","v":2500},0]
[null,{"$f":"B87","v":2500},{"$f":"E56","v":0}]
[null,{"$f":"B88+D56","v":2500},0]
[null,{"$f":"B89","v":2500},{"$f":"E57","v":0}]
[null,{"$f":"B90+D57","v":2500},{"$f":"C90","v":0}]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}